|  | # Delhi Agricultural Marketing Board (Govt. of NCT of Delhi 9, Institutional Area, Pankha Road. Janakpuri, New Delhi-110058 Tel:- 28521032, 28524420 Fax:- 011-28525771 E-Mail:-ambdl@nic.in, Website:- WWW.delagrimarket.nic.in |
| --- | --- |

NOTICE INVITING QUOTATION

N.O.W.:- Wiring, Supply & Fixing of L.E.D. Light Fixtures and other electrical accessories in check post near gate no 1 and canteen in NGM Narela.

ITEM RATE TENDER AND CONTRACT FOR WORKS

INDEX

| S. No. | Description | Page No. |
| --- | --- | --- |
| 1 | Notice inviting quotation | 2-3 |
| 2. | List of Approved makes | 4 |
| 3. | Terms and Conditions | 5-6 |
| 4. | Schedule of Quantities | 7-10 |
| This NIQ contains 10 pages marked as 01 to 10 |  |  |

## Executive Engineer (E)

## DAMB

|  | # Delhi Agricultural Marketing Board (Govt. of NCT of Delhi 9, Institutional Area, Pankha Road. Janakpuri, New Delhi-110058 Tel:- 28521032, 28524420 Fax:- 011-28525771 E-Mail:-ambdl@nic.in, Website:- WWW.delagrimarket.nic.in |
| --- | --- |

F.No:- 25(4)/376/DAMB/Engg/                                                        dated:-

NOTICE INVITING QUOTATION

Sealed item rate quotations as detailed below are invited for the under mentioned work on behalf of Secretary, APMC Narela, up to 2:30 P.M. on date indicated below from the approved & eligible contractors of CPWD, MES, DDA, NDMC, DJB, I&FCD and Railways, who have adequate past experience of the works for similar nature and completed successfully at least three works of similar nature and magnitude equivalent to the 40% of the estimated cost or two works of 60% of estimated cost or one work of 80% of estimated cost as during the last seven years. The tender will be opened on the same day at 3.00 P.M. in the office of Executive Engineer (E), Delhi Agricultural Marketing Board, 9, Institutional Area, Pankha Road, Janakpuri, New Delhi-110058 in the presence of the questioners or their authorized representatives who may like to attend. Quotations received after the prescribed time and date shall not be considered.

| SS. No. | NAME OF WORK | Estimated Cost (Rs.) | Earnest Money (Rs.) | Time of Completion | Last date of issue of quotations Papers | Last Date of receipt & opening of quotations |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Wiring, Supply & Fixing of L.E.D. Light Fixtures and other electrical accessories in check post near gate no 1 and canteen in NGM Narela. | 1,37,356/- | 2,800/- | 01 Month | 19.06.23 | 20.06.23 |

The earnest money of Rs. 2,800/- (Rupees Two Thousand Eight Hundred Only) shall have to be deposited by the tenderers/questioners along with the application for issue of tenders/quotations by a Bank Draft or pay order in favor of APMC, Narela. Quotations of the firms, who do not deposit the earnest money in the prescribed manner, shall be summarily rejected.

The quotations forms and other contract conditions can be obtained from the office of the undersigned by the parties themselves or their representative on any working days up to the last date of issue of tender i.e. 19.06.2023 till 1.00 P.M. on furnishing receipt of earnest money as specified above.

Firms are requested to submit the original EMD with copy of valid GST registration, PAN No., registration certificate of appropriate category, electrical contractor license duly signed in a sealed cover envelop marked as Annexure ‘A’ while tender form/price bid shall be placed in another envelope marked as Annexure ‘B’. Both these sealed envelopes shall be kept in separate bigger size sealed packet and submit up to 20.06.2023 till 2:30 P.M. in the office of Executive Engineer (E), Delhi Agricultural Marketing Board, 9, Institutional Area, Pankha Road, Janakpuri, New Delhi-110058. The sealed envelope mentioning name of work, NIT No. and due date of opening otherwise tenders shall be treated as invalid & rejected. Quotations received after the prescribed date and time shall not be considered.

The quotations will be opened on the same day at 3:00 P.M. in the presence of the questioners or their authorized representatives, who may like to attend. The price bid of agencies which does not qualify in eligibility criteria shall not be opened and decision of competent authority shall be final and binding upon all parties.

The NIT can be seen on web-site http://delagrimarket.nic.in. The quotations documents including schedule of quantities and other details of work can be seen in the office of the undersigned on any working days before applying for the issue of tender. DAMB reserves the right to reject any or all the tenders without assigning any reason.

## Executive Engineer (E)

## DAMB

# LIST OF APPROVED MAKE

1.	Wires / Cables:-                        Plaza, Skytone,  Ecko, Polycab, Havells

2	MCB/MCCB:-                            Havells, L & T

3.	MCB Distribution Board:-	  Havells, L & T, Orient

4.       DP/MCCB Enclosure:-              Havells, L & T, Orient

5.       SMC Junction Box:-                  Syntex

6.	Casing/Caping Fitting:-	            AKG

7.       Gang Box:-                                Havells, L & T

8.        Switch/Socket/Regulator:-       Havells, L & T

9.        Ceiling/Exhaust Fan:-              Havells, Bajaj, Crompton, Orient

10.      LED batten:-                             Havells, Halonix, Bajaj

## Note:- For any other item required to be incorporated in work, sample/make Shall be got approved from the Engineer-in-Charge.

Executive Engineer (E)

DAMB

Terms & Conditions

- The work shall be carried out strictly in accordance with CPWD specifications for electric works 2013 part-I (Internal) as amended upto date and in accordance with the Indian electricity act 1910 as amended upto date and as per instructions of the Engineer-in-Charge.

- All material to be used in this work by the contractor shall be got approved from the Engineer-in–Charge or his representative before installation at site.

- Any damage done to the building/road during the execution of electrical work shall be the responsibility of the electrical contractor and the same will be made good immediately at his own cost to the satisfaction of the Engineer-in–charge. Any expenditure incurred by the department in this connection shall be recovered from the contractor and decision of the Engineer-in-charge about recovery shall be final.

- Bad work-man ship will not be accepted and defects shall be rectified at contractor’s cost to the satisfaction of the Engineer-in-charge. The progress of electric work is to be coordinated in accordance with the building works and no claim for idle labour will be entertained by the department. In case civil work are completed earlier then the time stipulated in the tender electrical works shall have to the completed within 30 days of the date of completion civil work.

- All the debris of the electrical works should be removed and the site should be cleared by the contractor immediately after the occurring of debris. Similarly any rejected materials should be immediately cleared from the site by the contractor, otherwise a recovery @ Rs 100/- per day shall be made.

- Earthing & Cable laying shall invariably be done in the presence of the Engineer-in-Charge or his authorized representative.

- The contractor or his representative is bound to sign the site order book as and when required by the Engineer-in-Charge and to comply with the remarks there in.

- The contractor shall make his own arrangement at his own cost for electric/general tools and plants required for the work.

- The entire installation shall be at risk and responsibility of the contractor until these are tested and handed over to the department. However, if there is any delay in construction from the department side the installation may be taken over in parts but the decision on the same shall rest with Engineer-in-charge which shall be binding on the contractor.

- Not with standing the schedule of quantities all items of interrelated works considered necessary to make the installation complete and operative are deemed to be included shall be provided by the contractor at no extra cost.

- The connection, interconnection earthing and inter-earthing shall be done by the contractor where as required to be done for energization of the installation and nothing extra shall be paid on this account.

- The contractor shall make his own arrangement for storage of materials either brought by him or issued to him by the department.

- All termination of cables submain/circuit wires & copper/GI/Earth wires into switch board shall be done using/lugs/ferrules only & nothing extra shall be paid on this account. This condition shall not apply if wiring has been done with the solid single conductor wire.

- GST should be included in the rates tendered and statutory deduction of Income tax, GST at source shall be made while releasing payment through running/final bills. A certificate specifying the rate and amount of deduction shall be issued by the deptt.

- Loss of life/damages/accidents etc at site, shall be the sole responsibility of the contractor and no compensation shall be payable by the department.

- Recovery @ 5% on account of Security deposit and 1% on account of labour cess shall be made from the contractors bill.

- The execution of job shall be done in workman like manner to give structurally sound and neat appearance.

- Watch and ward of the material up to commissioning and final handing over to department will be the responsibility of the firm. Nothing extra shall be paid.

- The time allowed for complete the work will be 30 days from the 10th day of issue of work order/award letter.

Executive Engineer (E)

(Signature of Contractor with Seal)

|  | # Delhi Agricultural Marketing Board (Govt. of NCT of Delhi 9, Institutional Area, Pankha Road. Janakpuri, New Delhi-110058 Tel:- 28521032, 28524420 Fax:- 011-28525771 E-Mail:-ambdl@nic.in, Website:- WWW.delagrimarket.nic.in |
| --- | --- |

Schedule of Quantities

N.O.W:- Wiring, Supply & Fixing of L.E.D. Light Fixtures and other electrical accessories in check post near gate no 1 and canteen in NGM Narela.

| S.No. | Description of Item | Unit | Qty | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Supplying and fixing 12 way, Double door, single pole and neutral, sheet steel, MCB distribution board, 240 V on surface/recess complete with tined copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc as required. (But without MCB/RCCB/Isolator) | Each | 2 |  |  |
| 2 | Supplying and fixing 40A rating, double pole, 240 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. | Each | 2 |  |  |
| 3 | Supplying and fixing single pole 5 A to 32 A rating, 240/415 V, 10 KA , "C" curve, miniature circuit breaker suitable for inductive load of single pole in the existing MCB DB complete with connections, testing and commissioning etc as required. | Each | 30 |  |  |
| 4 | Supply and fixing DP sheet steel enclosure on surface/recess along with 25/32 A 240 V "C" curve DP MCB complete with connections, testing and commissioning etc. as required. | Each | 2 |  |  |
| 5 | Supplying and fixing on surface 12 module PVC gang box with modular plate and cover in front on surface. Make- Havells | Each | 3 |  |  |
| 6 | Supplying and fixing on surface 8 module PVC gang box with modular plate and cover in front on surface. Make- Havells | Each | 3 |  |  |
| 7 | Supplying and fixing on surface 3 module PVC gang box with modular plate and cover in front on surface. Make- Havells | Each | 6 |  |  |
| 8 | Supplying and fixing on surface 2 module PVC gang box with modular plate and cover in front on surface. Make- Havells | Each | 1 |  |  |
| 9 | Supplying and fixing 5/6 A modular switch on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | Each | 40 |  |  |
| 10 | Supplying and fixing 15/16 A modular switch on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | Each | 6 |  |  |
| 11 | Supplying and fixing 3 pin 5/6 A outlet modular socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | Each | 10 |  |  |
| 12 | Supplying and fixing 6 pin 15/16 A outlet modular socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | Each | 6 |  |  |
| 13 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | Each | 5 |  |  |
| 14 | Supplying and drawing sizes of 3X2.5 sq. mm FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/PVC conduit as required. | Mtr | 100 |  |  |
| 15 | Supplying and drawing sizes of 3X4 sq. mm FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/PVC conduit as required. | Mtr | 100 |  |  |
| 16 | Supplying and drawing sizes of 3X6 sq. mm FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/PVC conduit as required. | Mtr | 50 |  |  |
| 17 | Supplying and fixing size of 230 H x 170 W x 105 D outside and 200 H x 140 W x 95 D inside dimension of SMC junction box single door with hinged type door fixing and locable arrangement. Make:- Syntex | Each | 1 |  |  |
| 18 | Supplying and fixing 63 A rating, four pole, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required | Each | 1 |  |  |
| 19 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | Point | 30 |  |  |
| 20 | Supplying and fixing of PVC casing caping of 1 inch and white colour for electric wire installation on surface/wall. | Mtr | 100 |  |  |
| 21 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (up to 30 cm) with 1.5 sq. mm FRLS PVC insulated copper conductor, single core cable, including providing and fixing phenolic laminated sheet cover on the fan box etc. as required. | Each | 4 |  |  |
| 22 | Supplying and fixing of metallic heavy duty Exhaust fan 300 mm sweep, specially designed metal blade, double ball bearing heavy duty motor with protective steel bird guard, robust construction in the existing opening, including making good the damage, connection, testing, commissioning etc, as required. Make:- Havells, Model :- Torbo Force SP | Each | 1 |  |  |
| 23 | Supplying of metallic Ceiling fan 1200 mm Sweep, Three coat metallic finish to enrich the gloss, Wider tip blades for effective air circulation, High performance even at low voltage, robust construction. Make:- Havells, Model:- SS390 Metallic, White Colour | Each | 4 |  |  |
| 24 | Supplying and fixing of LED batten of 20w, 6500K with 4 feet length with high brightness. | Each | 40 |  |  |
| Total Amount in Rs. |  |  |  |  |  |

## EE (E)                                            AE (E)                              			  JE (E)

I/we have read the conditions of contract carefully and am/are ready to carry out the same job at the rate mentioned against each item of the above mentioned schedule.

(Signature of Contractor with Seal)